## Front Page
Vent Trex
Over window extract fan and trickle vent
The Vent Trex product is made to order to suit your specific requirements in function, colour and size.
Prior to requesting a Quote or Ordering it is critical that you understand the configuration you want and have all the details required to complete the ‘Quote – Order Form’ (see tab Below)
Once an order has been received and given to the factory for production any changes may cause delays and may result in additional cost to the purchaser.
Full details of the product are available on our web site - |  |  | Vent-Trex - Titon UK
Sizing and handing guidance is given on the ‘Measuring & Handing’ tab below.
All quote and order request must be made by completing the 'Quote – Order Form' (see tab Below). The completed form must be sent to sales@titon.co.uk in spreadsheet format.
Historically we have developed different configurations for local authorities and housing associations, please check with your main contractor if there are pre defined configuration requirements. We have listed those we are aware of on the ‘Local Authority & Special Req’ tab below. Prior to using these you should check they are still current.

## Quote - Order Form
Required Vent Trex Configurations - Please select from the grey box below. Only one configuration allowed per form
[9 empty] | Please Click and Select here | [8 empty] | Kitchen Flow Rate | 30l/s - 60l/s | [7 empty] | Bathroom remote PSU option
[18 empty] | Bathroom Flow Rate | 15l/s | [5 empty] | Result |  |  |  | Hum option |  | Ceiling Switch
VENT-TREX Pricing/Order Sheet |  |  | https://www.titon.com/uk/ | [19 empty] | No Mesh | Mesh | No Mesh | Mesh |  | Result |  | Result |  | Result | Lookup | Slide Bar |  | Result |  | Lookup |  | Room | Remote PSU | Y/ N | Hum | Hand | Exit
BM1356 iss 10 | [8 empty] | TITON USE ONLY | [11 empty] | Please Click and Select here | [18 empty] | K | N | Y | N | L | F
Customer | [8 empty] | Date received | [8 empty] | Sizes (mm) |  |  | Standard | 0 | VX | VF |  |  | Y |  | Y |  | Y |  |  | Y | N |  |  |  |  | B |  | N | N | R | E |  |  |  | Standard Model - The Pull cord or ceiling switch must be pulled to switch the unit on, humidity sensing will only occur when the unit is on.
Contact name | [8 empty] | Date sent to customer | [11 empty] | Cord Control - Currently unavailable | 0 | VA | VB |  |  | Y |  | Y |  | N |  | N | Y | Y | [13 empty] | Cord Control - The unit has two pull cords one each side. One to open the slide and switch the fan ON, one to close the slide and switch the unit OFF.
Project name | [8 empty] | Order created by | [11 empty] | Continuous Power | 0 | VK | VL |  |  | Y |  | Always |  | Y |  |  | Y | N | [13 empty] | Continuous power - The Pull cord or ceiling switch must be pulled to switch the unit on manually, the unit will always respond automatically to a change in humidity
Delivery address | [8 empty] | Date sent to Vent Systems | [8 empty] | Kitchen Min size to achieve airflow rating | Kitchen - Min size |  | Continuous Running | 0 | VM | VN |  |  | N |  | Y |  | N |  |  | N | N | [13 empty] | Continuous running - The fan will run at low speed continuously and increasing to the higher speed on pulling the pull cord.
[9 empty] | Titon PO no | [11 empty] | Variable speed | 0 | VP | VR | [15 empty] | PSU / Switch requirements/Slider
[9 empty] | Titon Order no |  |  | S/ | [9 empty] | 0 | [17 empty] | PSU |  | Switch |  | Slider | Lookup | Code
Phone Number | [8 empty] | Sheet |  |  | of | [5 empty] | 0 | 0 | [20 empty] | Internal | 0 | Internal | 0 | 0 | 0 | A | [5 empty] | Minimum Sizes
Customer order no | [8 empty] | Vent Systems Job No.: | [30 empty] | Internal | 0 | Ceiling | 2 | 0 | 2 | B | [5 empty] | Kitchen |  |  |  | Bathroom With In PSU |  |  |  | Bathroom With EXT PSU
Requested Del Date | [17 empty] | Bathroom with Integral PSU - Min size to achieve airflow rating | Bathroom with Integral PSU - Min Size | [20 empty] | Remote | 1 | Internal | 0 | 0 | 1 | C | [5 empty] | to ach 30 l/s |  | Min |  | to ach 15l/s |  | Min |  | to ach 15l/s without hum |  | to ach 15l/s with hum |  | Min without hum |  | Min with hum
Quote Or Order? | [9 empty] | This form must be electronically completed and returned in Excel (.xls) format to: | [29 empty] | Remote | 1 | Ceiling | 2 | 0 | 3 | D |  |  |  | Standard | 0 | 1200 | 0 | 430 | 0 | 540 | 0 | 430 | 0 | 510 | 0 | 540 | 0 | 360 | 0 | 390 | 0
[21 empty] | Quote | [18 empty] | Internal | 0 | Internal | 0 | 4 | 4 | E |  |  |  | Cord Control | 0 | 1200 | 0 | 450 | 0 | 540 | 0 | 450 | 0 | 0 | 0 | 510 | 0 | 0 | 0 | 380 | 0
Please complete ALL boxes, otherwise order cannot be accepted. | [9 empty] | ventsales@titon.co.uk | [10 empty] | Order | [18 empty] | Internal | 0 | Ceiling | 2 | 4 | 6 | F |  |  |  | Continuous power | 0 | 1200 | 0 | 430 | 0 | 540 | 0 | 430 | 0 | 0 | 0 | 540 | 0 | 0 | 0 | 430 | 0
|  | All boxes below in Yellow must be completed. | [7 empty] | Please check the selection in any box below highlighted in Red | [7 empty] | 0 | 0 | [20 empty] | Remote | 1 | Internal | 0 | 4 | 5 | G |  |  |  | Continuous running | 0 | 870 | 0 | 430 | 0 | 540 | 0 | 430 | 0 |  | 0 |  | 0 |  | 0 |  | 0
Notes | [39 empty] | Remote | 1 | Ceiling | 2 | 4 | 7 | H
[18 empty] | Bathroom with external PSU | [33 empty] | 30l/s - 60l/s | 8.7l/s -21l/s |  |  | 15l/s | 8.6l/s
[18 empty] | With Humidity - Min size to achieve flow rate | Without Humidity - Min size to achieve flow rate
LOCATION REFERENCE (Address where the unit is going to be fitted) | MODEL (B=Bathroom K=Kitchen) | REMOTE PSU - SELV (Y=Yes) Bathroom Only | CEILING SWITCH (SUPPLIED BY CUSTOMER) (Y=Yes) | HUMIDISTAT (Y=Yes) | Slider | External Mesh (Y=Yes) | SWITCH & FLEX HANDING | FLEX EXIT | COLOUR (W=White RAL9010, B=Brown RAL8016 or 0ther) |  | DIMENSIONS See Measuring & Handing Tab |  |  | QUANTITY | TITON CODE | COLOUR (RAL BS Or Other ref) |  | 0 | 0 |  | PSU Checking |  |  |  | Ceiling switch Checking |  |  | Slider Checks |  |  | Humidty Checks | [19 empty] | Size check
[7 empty] | L = Left, R = Right (viewed from inside) | F=Front, E=End | Internal Fan | External Canopy | A - External Canopy width (mm) | B - Internal Fan width (mm) | F - window head thickness (mm) |  |  | Internal Fan | External Canopy |  |  | Empty cell check | Is PSU an Option | Look up | Is PSU selected for Kitchen? 1 yes 0 no | Remote Selected 1 yes 0 no | Is switch an option 1 yes 0 no | check | Lookup | Are they valid options 0 yes 1 no | Check | Lookup table | Is hum always wanted 1 Yes 0 no | Is hum an option 0 Yes 1 no | Always check | No Check | Lookup ABCD | Code check | code | Prefix | F Dimension | Size group | Bathroom or Kitchen | Remote or Integral PSU and switch | Humidistat | Switch and flex handling | Flex exit | Colour | Colour | Kitchen Barthroom | Remote Selected | Hum |  |  |  | Blue | Red Flag |  | Size lookup
[18 empty] | Bathroom with external PSU |  | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A |  |  |  | K | 0 | 0 |  | Colours
[18 empty] | With Humidity min size | Without Humidity min size | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A |  |  |  | Khum | 0 | 0 |  | W | Ral 9010 |  |  | Config
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A |  |  |  | B | 0 | 0 |  | B | Ral 8016 |  | W W | 392
[18 empty] | 0 | 0 | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A |  |  |  | Bhum | 0 | 0 |  | 1013M |  |  | W B | 960
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A |  |  |  | BRemHum | 0 | 0 |  | 7012M |  |  | B W | 923
[18 empty] | Where a size is shown in BLUE it is within accaptable sizes but it will not accheive the full airflow rate. Where a size is shown in RED it is outside of the size range allowed. |  | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A |  |  |  | Brem | 0 | 0 |  | 7012SG |  |  | W 7016SG | 101
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A | [7 empty] | 7015M |  |  | 9910GL 8000M | 402
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A | [7 empty] | 7016SG |  |  | 9910GL 1013M | 998
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A | [7 empty] | 7021M |  |  | Other Other | TBC
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A | [7 empty] | 8000M |  |  | W 7012M | 108
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A | [7 empty] | 9004M |  |  | 8000M 8000M | 781
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A | [7 empty] | 9910GL |  |  | 9004M 1013M | 247
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A | [7 empty] | Other |  |  | 1013M 1013M | 088
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A | [10 empty] | W 7021M | 091
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A | [10 empty] | W 7012G | 176
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A | [10 empty] | W 7012SG | 177
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A | [10 empty] | 7015M 7015M | 279
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A | [10 empty] | 9910GL 9910GL | 265
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A | [10 empty] | 9910GL 7012M | 289
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A
[20 empty] | 0 |  | N | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 010A/TBC |  |  | 01 | 0 | A |  |  |  |  | TBC |  |  |  |  | #N/A | #N/A
0
Note on K4: Please specify the configuration you require, if in doubt please refer to our web site http://titon.co.uk/
Note on B17: Is this a price enquiry or an order. Please indicate in the box to the right.
Note on B24: Please Enter The Property Address, incluing Postcode
Note on C24: Please Select if Bathroom Or Kitchen Unit Required. If Toilet Please select bathroom
Note on D24: BATHROOM ONLY Please advise if you require an integral or remote PSU. Check location of the fan for voltage requirements Y / N
Note on E24: Please advise if you require the unit to be triggered by an external switch and not by the built in pull cord Y / N
Note on F24: Do you want the unit to be triggered by Humidity? Y / N
Note on G24: The slider enables the vent to be opened and closed. If not required the vent will be permenantly open. N.B When the wind blows on this façade it could casue noise and drafts.
Note on H24: Do you require an external mesh, to reduce the risk of insects getting into the unit from outside? Y / N
Note on P24: Quantity of units required
Note on Q24: Titon use only
Note on R24: If the colour is a non standard one please state the RAL colour and if Matt (M), Semi Gloss (SG) or Gloss (G)
Note on I25: Which side do you want the pull cord, power flex and the red power indicating neon on? L / R
Note on J25: Where do you want the power cable imerging from, at the front or the end of the unit? F / E
Note on K25: Please specify the colour of the unit, as seen from inside of the property
Note on L25: Please specify the colour of the unit, as seen from outside of the property
Note on M25: External width of the unit, generally the brickwork width. Please see further detail by clicking on the Measuring & Handing tab at the bottom of the spread sheet.
Note on N25: Internal width of the unit, generally the plaster width. Please see further detail by clicking on the Measuring & Handling tab at the bottom of the spread sheet
Note on O25: Please specify the thickness of the window Please see further detail by clicking on the Measuring & Handing tab at the bottom of the spread sheet.

## Measuring & Handing
Vent-trex
Measuring and Handing Guide
NOTES: |  | Please confirm dimensions. See Notes 1 to 5, then enter A, B and F dimensions on sheet overleaf
1) | VENT-TREX can be supplied for a 'parallel' (typically English) or a 'check' (typically Scottish) reveal, please refer to diagrams below.
2) | These are intended only as general illustrations. Specfic installation details may vary & should always be checked on site prior to order.
3) | Allow for uneven reveals & check dimensions at more than one point. | A = Width of Canopy
4) | Allow for power cable if required to exit from end of unit.
5) | Round A & B measurements down to nearest 5mm increment i.e. 973mm will be 970mm after tolerance). | B = Overall width of fan box unit
D = Allow for fitting tolerance (may be uneven)
E = Allow for thickness of internal soffit finishes
F = Window head thickness
IMPORTANT: Ensure sufficient clearance allowance. Titon cannot be held responsible if this does not occur.

## Local Authority & Special Req
Defined specifications
Various local authorities or housing associations have historically selected their own specification.
However it should not be taken for granted these are still current.
Please check with the contract and or the specifier before ordering.
Once product is in manufacture is is not easy to modify and changes may encure charges to the purchaser
Brentford
Kitchen Unit - Continuous Running - No Slide Bar - No Humidistat - External Mesh
Unit is fitted with 2 fans that both run at low speed.
Enfield
Kitchen Unit - Standard Unit with Ceiling Switch, Humidistat, External Mesh & Cable Front Exit
Bathroom Unit - Standard Unit with Remote PSU, Ceiling Switch, Humidistat, External Mesh & Cable Front Exit
Greenwich
Kitchen Unit - Continuous Running - Integral Momentary Switch -Always Integral PSU - No Slide Bar - No Humidistat - External Mesh
Bathroom Unit - Intermittent Running - Integral Latching (on/off) Switch - remote PSU when Specified - always Humidistat - No Slide Bar - External Mesh
Hammersmith & Fulham | Requires Specific order form - Please contact Titon for order sheet.
Cord Control & Continuous Power
Cord control slide with integral on/off switch - Always humidistat - Always external mesh
Remote PSU always in bathroom - Integral In Kitchen.
Harrow Specification
Continuous Power
Tilt & Turn/Pivot windows require ceiling switch, casement open out & tilt only window require integral switch
Integral PSU always in kitchen, remote PSU always in the bathroom
Harlow
Continuous Running Kitchen And Bathroom Fans
Kitchen Unit - Continuous Running - Integral (on/off) Switch -Always Integral PSU - No Slide Bar - No Humidistat - External Mesh
Bathroom Unit - Continuous Running - Integral (on/off) Switch - Always Integral PSU - No Slide Bar - No Humidistat - External Mesh
Havering
Continuous Power - Always Integral PSU, Humidistat and external Mesh
Lambeth
Continuous Power - Always with Humidity and External Mesh
Integral PSU always in kitchen and bathroom
Sandwell
Cord Control - No Humidistat, External Mesh, Remote PSU or Ceiling Switch

## Sheet1 (hidden)
| MODEL (B=Bathroom K=Kitchen) | REMOTE PSU - SELV (Y=Yes) Bathroom Only | CEILING SWITCH (SUPPLIED BY CUSTOMER) (Y=Yes) | HUMIDISTAT (Y=Yes) | Slide Bar
Standard | K | N | Y or N | Y or N | Y or N
| B | Y or N | Y or N | Y or N | Y or N
Continuous Power | K | N | Y or N | Y | Y or N
| B | Y or N | Y or N | Y | Y or N
Continuous Running | K | N | N | N | N
| B | N | N | N | N
Cord Control | K | N | N | Y or N | Y
| B | Y or N | N | Y or N | Y

## Vent-trex sizes (hidden)
MM | Group | MM | 0-600 | 601-700 | 701-800 | 801-900 | 901-1000 | 1001-1100 | 1101-1200 | 1201-1300 | 1301-1400 | 1401-1500 | 1501-1600 | 1601-1700 | 1701-1800 | 1801-1900 | 1901-2000 | 2001-2100 | 2101-2200 | 2201-2300 | 2301-2400 | 2401-2500
0 | 01 | Group | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
1 | 01
2 | 01
3 | 01
4 | 01
5 | 01 |  | 5: 0-600; 6: 1
6 | 01 |  | 5: 601-700; 6: 2
7 | 01 |  | 5: 701-800; 6: 3
8 | 01 |  | 5: 801-900; 6: 4
9 | 01 |  | 5: 901-1000; 6: 5
10 | 01 |  | 5: 1001-1100; 6: 6
11 | 01 |  | 5: 1101-1200; 6: 7
12 | 01 |  | 5: 1201-1300; 6: 8
13 | 01 |  | 5: 1301-1400; 6: 9
14 | 01 |  | 5: 1401-1500; 6: 10
15 | 01 |  | 5: 1501-1600; 6: 11
16 | 01 |  | 5: 1601-1700; 6: 12
17 | 01 |  | 5: 1701-1800; 6: 13
18 | 01 |  | 5: 1801-1900; 6: 14
19 | 01 |  | 5: 1901-2000; 6: 15
20 | 01 |  | 5: 2001-2100; 6: 16
21 | 01 |  | 5: 2101-2200; 6: 17
22 | 01 |  | 5: 2201-2300; 6: 18
23 | 01 |  | 5: 2301-2400; 6: 19
24 | 01 |  | 5: 2401-2500; 6: 20
25 | 01
26 | 01
27 | 01
28 | 01
29 | 01
30 | 01
31 | 01
32 | 01
33 | 01
34 | 01
35 | 01
36 | 01
37 | 01
38 | 01
39 | 01
40 | 01
41 | 01
42 | 01
43 | 01
44 | 01
45 | 01
46 | 01
47 | 01
48 | 01
49 | 01
50 | 01
51 | 01
52 | 01
53 | 01
54 | 01
55 | 01
56 | 01
57 | 01
58 | 01
59 | 01
60 | 01
61 | 01
62 | 01
63 | 01
64 | 01
65 | 01
66 | 01
67 | 01
68 | 01
69 | 01
70 | 01
71 | 01
72 | 01
73 | 01
74 | 01
75 | 01
76 | 01
77 | 01
78 | 01
79 | 01
80 | 01
81 | 01
82 | 01
83 | 01
84 | 01
85 | 01
86 | 01
87 | 01
88 | 01
89 | 01
90 | 01
91 | 01
92 | 01
93 | 01
94 | 01
95 | 01
96 | 01
97 | 01
98 | 01
99 | 01
100 | 01
101 | 01
102 | 01
103 | 01
104 | 01
105 | 01
106 | 01
107 | 01
108 | 01
109 | 01
110 | 01
111 | 01
112 | 01
113 | 01
114 | 01
115 | 01
116 | 01
117 | 01
118 | 01
119 | 01
120 | 01
121 | 01
122 | 01
123 | 01
124 | 01
125 | 01
126 | 01
127 | 01
128 | 01
129 | 01
130 | 01
131 | 01
132 | 01
133 | 01
134 | 01
135 | 01
136 | 01
137 | 01
138 | 01
139 | 01
140 | 01
141 | 01
142 | 01
143 | 01
144 | 01
145 | 01
146 | 01
147 | 01
148 | 01
149 | 01
150 | 01
151 | 01
152 | 01
153 | 01
154 | 01
155 | 01
156 | 01
157 | 01
158 | 01
159 | 01
160 | 01
161 | 01
162 | 01
163 | 01
164 | 01
165 | 01
166 | 01
167 | 01
168 | 01
169 | 01
170 | 01
171 | 01
172 | 01
173 | 01
174 | 01
175 | 01
176 | 01
177 | 01
178 | 01
179 | 01
180 | 01
181 | 01
182 | 01
183 | 01
184 | 01
185 | 01
186 | 01
187 | 01
188 | 01
189 | 01
190 | 01
191 | 01
192 | 01
193 | 01
194 | 01
195 | 01
196 | 01
197 | 01
198 | 01
199 | 01
200 | 01
201 | 01
202 | 01
203 | 01
204 | 01
205 | 01
206 | 01
207 | 01
208 | 01
209 | 01
210 | 01
211 | 01
212 | 01
213 | 01
214 | 01
215 | 01
216 | 01
217 | 01
218 | 01
219 | 01
220 | 01
221 | 01
222 | 01
223 | 01
224 | 01
225 | 01
226 | 01
227 | 01
228 | 01
229 | 01
230 | 01
231 | 01
232 | 01
233 | 01
234 | 01
235 | 01
236 | 01
237 | 01
238 | 01
239 | 01
240 | 01
241 | 01
242 | 01
243 | 01
244 | 01
245 | 01
246 | 01
247 | 01
248 | 01
249 | 01
250 | 01
251 | 01
252 | 01
253 | 01
254 | 01
255 | 01
256 | 01
257 | 01
258 | 01
259 | 01
260 | 01
261 | 01
262 | 01
263 | 01
264 | 01
265 | 01
266 | 01
267 | 01
268 | 01
269 | 01
270 | 01
271 | 01
272 | 01
273 | 01
274 | 01
275 | 01
276 | 01
277 | 01
278 | 01
279 | 01
280 | 01
281 | 01
282 | 01
283 | 01
284 | 01
285 | 01
286 | 01
287 | 01
288 | 01
289 | 01
290 | 01
291 | 01
292 | 01
293 | 01
294 | 01
295 | 01
296 | 01
297 | 01
298 | 01
299 | 01
300 | 01
301 | 01
302 | 01
303 | 01
304 | 01
305 | 01
306 | 01
307 | 01
308 | 01
309 | 01
310 | 01
311 | 01
312 | 01
313 | 01
314 | 01
315 | 01
316 | 01
317 | 01
318 | 01
319 | 01
320 | 01
321 | 01
322 | 01
323 | 01
324 | 01
325 | 01
326 | 01
327 | 01
328 | 01
329 | 01
330 | 01
331 | 01
332 | 01
333 | 01
334 | 01
335 | 01
336 | 01
337 | 01
338 | 01
339 | 01
340 | 01
341 | 01
342 | 01
343 | 01
344 | 01
345 | 01
346 | 01
347 | 01
348 | 01
349 | 01
350 | 01
351 | 01
352 | 01
353 | 01
354 | 01
355 | 01
356 | 01
357 | 01
358 | 01
359 | 01
360 | 01
361 | 01
362 | 01
363 | 01
364 | 01
365 | 01
366 | 01
367 | 01
368 | 01
369 | 01
370 | 01
371 | 01
372 | 01
373 | 01
374 | 01
375 | 01
376 | 01
377 | 01
378 | 01
379 | 01
380 | 01
381 | 01
382 | 01
383 | 01
384 | 01
385 | 01
386 | 01
387 | 01
388 | 01
389 | 01
390 | 01
391 | 01
392 | 01
393 | 01
394 | 01
395 | 01
396 | 01
397 | 01
398 | 01
399 | 01
400 | 01
401 | 01
402 | 01
403 | 01
404 | 01
405 | 01
406 | 01
407 | 01
408 | 01
409 | 01
410 | 01
411 | 01
412 | 01
413 | 01
414 | 01
415 | 01
416 | 01
417 | 01
418 | 01
419 | 01
420 | 01
421 | 01
422 | 01
423 | 01
424 | 01
425 | 01
426 | 01
427 | 01
428 | 01
429 | 01
430 | 01
431 | 01
432 | 01
433 | 01
434 | 01
435 | 01
436 | 01
437 | 01
438 | 01
439 | 01
440 | 01
441 | 01
442 | 01
443 | 01
444 | 01
445 | 01
446 | 01
447 | 01
448 | 01
449 | 01
450 | 01
451 | 01
452 | 01
453 | 01
454 | 01
455 | 01
456 | 01
457 | 01
458 | 01
459 | 01
460 | 01
461 | 01
462 | 01
463 | 01
464 | 01
465 | 01
466 | 01
467 | 01
468 | 01
469 | 01
470 | 01
471 | 01
472 | 01
473 | 01
474 | 01
475 | 01
476 | 01
477 | 01
478 | 01
479 | 01
480 | 01
481 | 01
482 | 01
483 | 01
484 | 01
485 | 01
486 | 01
487 | 01
488 | 01
489 | 01
490 | 01
491 | 01
492 | 01
493 | 01
494 | 01
495 | 01
496 | 01
497 | 01
498 | 01
499 | 01
500 | 01
501 | 01
502 | 01
503 | 01
504 | 01
505 | 01
506 | 01
507 | 01
508 | 01
509 | 01
510 | 01
511 | 01
512 | 01
513 | 01
514 | 01
515 | 01
516 | 01
517 | 01
518 | 01
519 | 01
520 | 01
521 | 01
522 | 01
523 | 01
524 | 01
525 | 01
526 | 01
527 | 01
528 | 01
529 | 01
530 | 01
531 | 01
532 | 01
533 | 01
534 | 01
535 | 01
536 | 01
537 | 01
538 | 01
539 | 01
540 | 01
541 | 01
542 | 01
543 | 01
544 | 01
545 | 01
546 | 01
547 | 01
548 | 01
549 | 01
550 | 01
551 | 01
552 | 01
553 | 01
554 | 01
555 | 01
556 | 01
557 | 01
558 | 01
559 | 01
560 | 01
561 | 01
562 | 01
563 | 01
564 | 01
565 | 01
566 | 01
567 | 01
568 | 01
569 | 01
570 | 01
571 | 01
572 | 01
573 | 01
574 | 01
575 | 01
576 | 01
577 | 01
578 | 01
579 | 01
580 | 01
581 | 01
582 | 01
583 | 01
584 | 01
585 | 01
586 | 01
587 | 01
588 | 01
589 | 01
590 | 01
591 | 01
592 | 01
593 | 01
594 | 01
595 | 01
596 | 01
597 | 01
598 | 01
599 | 01
600 | 01
601 | 02
602 | 02
603 | 02
604 | 02
605 | 02
606 | 02
607 | 02
608 | 02
609 | 02
610 | 02
611 | 02
612 | 02
613 | 02
614 | 02
615 | 02
616 | 02
617 | 02
618 | 02
619 | 02
620 | 02
621 | 02
622 | 02
623 | 02
624 | 02
625 | 02
626 | 02
627 | 02
628 | 02
629 | 02
630 | 02
631 | 02
632 | 02
633 | 02
634 | 02
635 | 02
636 | 02
637 | 02
638 | 02
639 | 02
640 | 02
641 | 02
642 | 02
643 | 02
644 | 02
645 | 02
646 | 02
647 | 02
648 | 02
649 | 02
650 | 02
651 | 02
652 | 02
653 | 02
654 | 02
655 | 02
656 | 02
657 | 02
658 | 02
659 | 02
660 | 02
661 | 02
662 | 02
663 | 02
664 | 02
665 | 02
666 | 02
667 | 02
668 | 02
669 | 02
670 | 02
671 | 02
672 | 02
673 | 02
674 | 02
675 | 02
676 | 02
677 | 02
678 | 02
679 | 02
680 | 02
681 | 02
682 | 02
683 | 02
684 | 02
685 | 02
686 | 02
687 | 02
688 | 02
689 | 02
690 | 02
691 | 02
692 | 02
693 | 02
694 | 02
695 | 02
696 | 02
697 | 02
698 | 02
699 | 02
700 | 02
701 | 03
702 | 03
703 | 03
704 | 03
705 | 03
706 | 03
707 | 03
708 | 03
709 | 03
710 | 03
711 | 03
712 | 03
713 | 03
714 | 03
715 | 03
716 | 03
717 | 03
718 | 03
719 | 03
720 | 03
721 | 03
722 | 03
723 | 03
724 | 03
725 | 03
726 | 03
727 | 03
728 | 03
729 | 03
730 | 03
731 | 03
732 | 03
733 | 03
734 | 03
735 | 03
736 | 03
737 | 03
738 | 03
739 | 03
740 | 03
741 | 03
742 | 03
743 | 03
744 | 03
745 | 03
746 | 03
747 | 03
748 | 03
749 | 03
750 | 03
751 | 03
752 | 03
753 | 03
754 | 03
755 | 03
756 | 03
757 | 03
758 | 03
759 | 03
760 | 03
761 | 03
762 | 03
763 | 03
764 | 03
765 | 03
766 | 03
767 | 03
768 | 03
769 | 03
770 | 03
771 | 03
772 | 03
773 | 03
774 | 03
775 | 03
776 | 03
777 | 03
778 | 03
779 | 03
780 | 03
781 | 03
782 | 03
783 | 03
784 | 03
785 | 03
786 | 03
787 | 03
788 | 03
789 | 03
790 | 03
791 | 03
792 | 03
793 | 03
794 | 03
795 | 03
796 | 03
797 | 03
798 | 03
799 | 03
800 | 03
801 | 04
802 | 04
803 | 04
804 | 04
805 | 04
806 | 04
807 | 04
808 | 04
809 | 04
810 | 04
811 | 04
812 | 04
813 | 04
814 | 04
815 | 04
816 | 04
817 | 04
818 | 04
819 | 04
820 | 04
821 | 04
822 | 04
823 | 04
824 | 04
825 | 04
826 | 04
827 | 04
828 | 04
829 | 04
830 | 04
831 | 04
832 | 04
833 | 04
834 | 04
835 | 04
836 | 04
837 | 04
838 | 04
839 | 04
840 | 04
841 | 04
842 | 04
843 | 04
844 | 04
845 | 04
846 | 04
847 | 04
848 | 04
849 | 04
850 | 04
851 | 04
852 | 04
853 | 04
854 | 04
855 | 04
856 | 04
857 | 04
858 | 04
859 | 04
860 | 04
861 | 04
862 | 04
863 | 04
864 | 04
865 | 04
866 | 04
867 | 04
868 | 04
869 | 04
870 | 04
871 | 04
872 | 04
873 | 04
874 | 04
875 | 04
876 | 04
877 | 04
878 | 04
879 | 04
880 | 04
881 | 04
882 | 04
883 | 04
884 | 04
885 | 04
886 | 04
887 | 04
888 | 04
889 | 04
890 | 04
891 | 04
892 | 04
893 | 04
894 | 04
895 | 04
896 | 04
897 | 04
898 | 04
899 | 04
900 | 04
901 | 05
902 | 05
903 | 05
904 | 05
905 | 05
906 | 05
907 | 05
908 | 05
909 | 05
910 | 05
911 | 05
912 | 05
913 | 05
914 | 05
915 | 05
916 | 05
917 | 05
918 | 05
919 | 05
920 | 05
921 | 05
922 | 05
923 | 05
924 | 05
925 | 05
926 | 05
927 | 05
928 | 05
929 | 05
930 | 05
931 | 05
932 | 05
933 | 05
934 | 05
935 | 05
936 | 05
937 | 05
938 | 05
939 | 05
940 | 05
941 | 05
942 | 05
943 | 05
944 | 05
945 | 05
946 | 05
947 | 05
948 | 05
949 | 05
950 | 05
951 | 05
952 | 05
953 | 05
954 | 05
955 | 05
956 | 05
957 | 05
958 | 05
959 | 05
960 | 05
961 | 05
962 | 05
963 | 05
964 | 05
965 | 05
966 | 05
967 | 05
968 | 05
969 | 05
970 | 05
971 | 05
972 | 05
973 | 05
974 | 05
975 | 05
976 | 05
977 | 05
978 | 05
979 | 05
980 | 05
981 | 05
982 | 05
983 | 05
984 | 05
985 | 05
986 | 05
987 | 05
988 | 05
989 | 05
990 | 05
991 | 05
992 | 05
993 | 05
994 | 05
995 | 05
996 | 05
997 | 05
998 | 05
999 | 05
1000 | 05
1001 | 06
1002 | 06
1003 | 06
1004 | 06
1005 | 06
1006 | 06
1007 | 06
1008 | 06
1009 | 06
1010 | 06
1011 | 06
1012 | 06
1013 | 06
1014 | 06
1015 | 06
1016 | 06
1017 | 06
1018 | 06
1019 | 06
1020 | 06
1021 | 06
1022 | 06
1023 | 06
1024 | 06
1025 | 06
1026 | 06
1027 | 06
1028 | 06
1029 | 06
1030 | 06
1031 | 06
1032 | 06
1033 | 06
1034 | 06
1035 | 06
1036 | 06
1037 | 06
1038 | 06
1039 | 06
1040 | 06
1041 | 06
1042 | 06
1043 | 06
1044 | 06
1045 | 06
1046 | 06
1047 | 06
1048 | 06
1049 | 06
1050 | 06
1051 | 06
1052 | 06
1053 | 06
1054 | 06
1055 | 06
1056 | 06
1057 | 06
1058 | 06
1059 | 06
1060 | 06
1061 | 06
1062 | 06
1063 | 06
1064 | 06
1065 | 06
1066 | 06
1067 | 06
1068 | 06
1069 | 06
1070 | 06
1071 | 06
1072 | 06
1073 | 06
1074 | 06
1075 | 06
1076 | 06
1077 | 06
1078 | 06
1079 | 06
1080 | 06
1081 | 06
1082 | 06
1083 | 06
1084 | 06
1085 | 06
1086 | 06
1087 | 06
1088 | 06
1089 | 06
1090 | 06
1091 | 06
1092 | 06
1093 | 06
1094 | 06
1095 | 06
1096 | 06
1097 | 06
1098 | 06
1099 | 06
1100 | 06
1101 | 07
1102 | 07
1103 | 07
1104 | 07
1105 | 07
1106 | 07
1107 | 07
1108 | 07
1109 | 07
1110 | 07
1111 | 07
1112 | 07
1113 | 07
1114 | 07
1115 | 07
1116 | 07
1117 | 07
1118 | 07
1119 | 07
1120 | 07
1121 | 07
1122 | 07
1123 | 07
1124 | 07
1125 | 07
1126 | 07
1127 | 07
1128 | 07
1129 | 07
1130 | 07
1131 | 07
1132 | 07
1133 | 07
1134 | 07
1135 | 07
1136 | 07
1137 | 07
1138 | 07
1139 | 07
1140 | 07
1141 | 07
1142 | 07
1143 | 07
1144 | 07
1145 | 07
1146 | 07
1147 | 07
1148 | 07
1149 | 07
1150 | 07
1151 | 07
1152 | 07
1153 | 07
1154 | 07
1155 | 07
1156 | 07
1157 | 07
1158 | 07
1159 | 07
1160 | 07
1161 | 07
1162 | 07
1163 | 07
1164 | 07
1165 | 07
1166 | 07
1167 | 07
1168 | 07
1169 | 07
1170 | 07
1171 | 07
1172 | 07
1173 | 07
1174 | 07
1175 | 07
1176 | 07
1177 | 07
1178 | 07
1179 | 07
1180 | 07
1181 | 07
1182 | 07
1183 | 07
1184 | 07
1185 | 07
1186 | 07
1187 | 07
1188 | 07
1189 | 07
1190 | 07
1191 | 07
1192 | 07
1193 | 07
1194 | 07
1195 | 07
1196 | 07
1197 | 07
1198 | 07
1199 | 07
1200 | 07
1201 | 08
1202 | 08
1203 | 08
1204 | 08
1205 | 08
1206 | 08
1207 | 08
1208 | 08
1209 | 08
1210 | 08
1211 | 08
1212 | 08
1213 | 08
1214 | 08
1215 | 08
1216 | 08
1217 | 08
1218 | 08
1219 | 08
1220 | 08
1221 | 08
1222 | 08
1223 | 08
1224 | 08
1225 | 08
1226 | 08
1227 | 08
1228 | 08
1229 | 08
1230 | 08
1231 | 08
1232 | 08
1233 | 08
1234 | 08
1235 | 08
1236 | 08
1237 | 08
1238 | 08
1239 | 08
1240 | 08
1241 | 08
1242 | 08
1243 | 08
1244 | 08
1245 | 08
1246 | 08
1247 | 08
1248 | 08
1249 | 08
1250 | 08
1251 | 08
1252 | 08
1253 | 08
1254 | 08
1255 | 08
1256 | 08
1257 | 08
1258 | 08
1259 | 08
1260 | 08
1261 | 08
1262 | 08
1263 | 08
1264 | 08
1265 | 08
1266 | 08
1267 | 08
1268 | 08
1269 | 08
1270 | 08
1271 | 08
1272 | 08
1273 | 08
1274 | 08
1275 | 08
1276 | 08
1277 | 08
1278 | 08
1279 | 08
1280 | 08
1281 | 08
1282 | 08
1283 | 08
1284 | 08
1285 | 08
1286 | 08
1287 | 08
1288 | 08
1289 | 08
1290 | 08
1291 | 08
1292 | 08
1293 | 08
1294 | 08
1295 | 08
1296 | 08
1297 | 08
1298 | 08
1299 | 08
1300 | 08
1301 | 09
1302 | 09
1303 | 09
1304 | 09
1305 | 09
1306 | 09
1307 | 09
1308 | 09
1309 | 09
1310 | 09
1311 | 09
1312 | 09
1313 | 09
1314 | 09
1315 | 09
1316 | 09
1317 | 09
1318 | 09
1319 | 09
1320 | 09
1321 | 09
1322 | 09
1323 | 09
1324 | 09
1325 | 09
1326 | 09
1327 | 09
1328 | 09
1329 | 09
1330 | 09
1331 | 09
1332 | 09
1333 | 09
1334 | 09
1335 | 09
1336 | 09
1337 | 09
1338 | 09
1339 | 09
1340 | 09
1341 | 09
1342 | 09
1343 | 09
1344 | 09
1345 | 09
1346 | 09
1347 | 09
1348 | 09
1349 | 09
1350 | 09
1351 | 09
1352 | 09
1353 | 09
1354 | 09
1355 | 09
1356 | 09
1357 | 09
1358 | 09
1359 | 09
1360 | 09
1361 | 09
1362 | 09
1363 | 09
1364 | 09
1365 | 09
1366 | 09
1367 | 09
1368 | 09
1369 | 09
1370 | 09
1371 | 09
1372 | 09
1373 | 09
1374 | 09
1375 | 09
1376 | 09
1377 | 09
1378 | 09
1379 | 09
1380 | 09
1381 | 09
1382 | 09
1383 | 09
1384 | 09
1385 | 09
1386 | 09
1387 | 09
1388 | 09
1389 | 09
1390 | 09
1391 | 09
1392 | 09
1393 | 09
1394 | 09
1395 | 09
1396 | 09
1397 | 09
1398 | 09
1399 | 09
1400 | 09
1401 | 10
1402 | 10
1403 | 10
1404 | 10
1405 | 10
1406 | 10
1407 | 10
1408 | 10
1409 | 10
1410 | 10
1411 | 10
1412 | 10
1413 | 10
1414 | 10
1415 | 10
1416 | 10
1417 | 10
1418 | 10
1419 | 10
1420 | 10
1421 | 10
1422 | 10
1423 | 10
1424 | 10
1425 | 10
1426 | 10
1427 | 10
1428 | 10
1429 | 10
1430 | 10
1431 | 10
1432 | 10
1433 | 10
1434 | 10
1435 | 10
1436 | 10
1437 | 10
1438 | 10
1439 | 10
1440 | 10
1441 | 10
1442 | 10
1443 | 10
1444 | 10
1445 | 10
1446 | 10
1447 | 10
1448 | 10
1449 | 10
1450 | 10
1451 | 10
1452 | 10
1453 | 10
1454 | 10
1455 | 10
1456 | 10
1457 | 10
1458 | 10
1459 | 10
1460 | 10
1461 | 10
1462 | 10
1463 | 10
1464 | 10
1465 | 10
1466 | 10
1467 | 10
1468 | 10
1469 | 10
1470 | 10
1471 | 10
1472 | 10
1473 | 10
1474 | 10
1475 | 10
1476 | 10
1477 | 10
1478 | 10
1479 | 10
1480 | 10
1481 | 10
1482 | 10
1483 | 10
1484 | 10
1485 | 10
1486 | 10
1487 | 10
1488 | 10
1489 | 10
1490 | 10
1491 | 10
1492 | 10
1493 | 10
1494 | 10
1495 | 10
1496 | 10
1497 | 10
1498 | 10
1499 | 10
1500 | 10
1501 | 11
1502 | 11
1503 | 11
1504 | 11
1505 | 11
1506 | 11
1507 | 11
1508 | 11
1509 | 11
1510 | 11
1511 | 11
1512 | 11
1513 | 11
1514 | 11
1515 | 11
1516 | 11
1517 | 11
1518 | 11
1519 | 11
1520 | 11
1521 | 11
1522 | 11
1523 | 11
1524 | 11
1525 | 11
1526 | 11
1527 | 11
1528 | 11
1529 | 11
1530 | 11
1531 | 11
1532 | 11
1533 | 11
1534 | 11
1535 | 11
1536 | 11
1537 | 11
1538 | 11
1539 | 11
1540 | 11
1541 | 11
1542 | 11
1543 | 11
1544 | 11
1545 | 11
1546 | 11
1547 | 11
1548 | 11
1549 | 11
1550 | 11
1551 | 11
1552 | 11
1553 | 11
1554 | 11
1555 | 11
1556 | 11
1557 | 11
1558 | 11
1559 | 11
1560 | 11
1561 | 11
1562 | 11
1563 | 11
1564 | 11
1565 | 11
1566 | 11
1567 | 11
1568 | 11
1569 | 11
1570 | 11
1571 | 11
1572 | 11
1573 | 11
1574 | 11
1575 | 11
1576 | 11
1577 | 11
1578 | 11
1579 | 11
1580 | 11
1581 | 11
1582 | 11
1583 | 11
1584 | 11
1585 | 11
1586 | 11
1587 | 11
1588 | 11
1589 | 11
1590 | 11
1591 | 11
1592 | 11
1593 | 11
1594 | 11
1595 | 11
1596 | 11
1597 | 11
1598 | 11
1599 | 11
1600 | 11
1601 | 12
1602 | 12
1603 | 12
1604 | 12
1605 | 12
1606 | 12
1607 | 12
1608 | 12
1609 | 12
1610 | 12
1611 | 12
1612 | 12
1613 | 12
1614 | 12
1615 | 12
1616 | 12
1617 | 12
1618 | 12
1619 | 12
1620 | 12
1621 | 12
1622 | 12
1623 | 12
1624 | 12
1625 | 12
1626 | 12
1627 | 12
1628 | 12
1629 | 12
1630 | 12
1631 | 12
1632 | 12
1633 | 12
1634 | 12
1635 | 12
1636 | 12
1637 | 12
1638 | 12
1639 | 12
1640 | 12
1641 | 12
1642 | 12
1643 | 12
1644 | 12
1645 | 12
1646 | 12
1647 | 12
1648 | 12
1649 | 12
1650 | 12
1651 | 12
1652 | 12
1653 | 12
1654 | 12
1655 | 12
1656 | 12
1657 | 12
1658 | 12
1659 | 12
1660 | 12
1661 | 12
1662 | 12
1663 | 12
1664 | 12
1665 | 12
1666 | 12
1667 | 12
1668 | 12
1669 | 12
1670 | 12
1671 | 12
1672 | 12
1673 | 12
1674 | 12
1675 | 12
1676 | 12
1677 | 12
1678 | 12
1679 | 12
1680 | 12
1681 | 12
1682 | 12
1683 | 12
1684 | 12
1685 | 12
1686 | 12
1687 | 12
1688 | 12
1689 | 12
1690 | 12
1691 | 12
1692 | 12
1693 | 12
1694 | 12
1695 | 12
1696 | 12
1697 | 12
1698 | 12
1699 | 12
1700 | 12
1701 | 13
1702 | 13
1703 | 13
1704 | 13
1705 | 13
1706 | 13
1707 | 13
1708 | 13
1709 | 13
1710 | 13
1711 | 13
1712 | 13
1713 | 13
1714 | 13
1715 | 13
1716 | 13
1717 | 13
1718 | 13
1719 | 13
1720 | 13
1721 | 13
1722 | 13
1723 | 13
1724 | 13
1725 | 13
1726 | 13
1727 | 13
1728 | 13
1729 | 13
1730 | 13
1731 | 13
1732 | 13
1733 | 13
1734 | 13
1735 | 13
1736 | 13
1737 | 13
1738 | 13
1739 | 13
1740 | 13
1741 | 13
1742 | 13
1743 | 13
1744 | 13
1745 | 13
1746 | 13
1747 | 13
1748 | 13
1749 | 13
1750 | 13
1751 | 13
1752 | 13
1753 | 13
1754 | 13
1755 | 13
1756 | 13
1757 | 13
1758 | 13
1759 | 13
1760 | 13
1761 | 13
1762 | 13
1763 | 13
1764 | 13
1765 | 13
1766 | 13
1767 | 13
1768 | 13
1769 | 13
1770 | 13
1771 | 13
1772 | 13
1773 | 13
1774 | 13
1775 | 13
1776 | 13
1777 | 13
1778 | 13
1779 | 13
1780 | 13
1781 | 13
1782 | 13
1783 | 13
1784 | 13
1785 | 13
1786 | 13
1787 | 13
1788 | 13
1789 | 13
1790 | 13
1791 | 13
1792 | 13
1793 | 13
1794 | 13
1795 | 13
1796 | 13
1797 | 13
1798 | 13
1799 | 13
1800 | 13
1801 | 14
1802 | 14
1803 | 14
1804 | 14
1805 | 14
1806 | 14
1807 | 14
1808 | 14
1809 | 14
1810 | 14
1811 | 14
1812 | 14
1813 | 14
1814 | 14
1815 | 14
1816 | 14
1817 | 14
1818 | 14
1819 | 14
1820 | 14
1821 | 14
1822 | 14
1823 | 14
1824 | 14
1825 | 14
1826 | 14
1827 | 14
1828 | 14
1829 | 14
1830 | 14
1831 | 14
1832 | 14
1833 | 14
1834 | 14
1835 | 14
1836 | 14
1837 | 14
1838 | 14
1839 | 14
1840 | 14
1841 | 14
1842 | 14
1843 | 14
1844 | 14
1845 | 14
1846 | 14
1847 | 14
1848 | 14
1849 | 14
1850 | 14
1851 | 14
1852 | 14
1853 | 14
1854 | 14
1855 | 14
1856 | 14
1857 | 14
1858 | 14
1859 | 14
1860 | 14
1861 | 14
1862 | 14
1863 | 14
1864 | 14
1865 | 14
1866 | 14
1867 | 14
1868 | 14
1869 | 14
1870 | 14
1871 | 14
1872 | 14
1873 | 14
1874 | 14
1875 | 14
1876 | 14
1877 | 14
1878 | 14
1879 | 14
1880 | 14
1881 | 14
1882 | 14
1883 | 14
1884 | 14
1885 | 14
1886 | 14
1887 | 14
1888 | 14
1889 | 14
1890 | 14
1891 | 14
1892 | 14
1893 | 14
1894 | 14
1895 | 14
1896 | 14
1897 | 14
1898 | 14
1899 | 14
1900 | 14
1901 | 15
1902 | 15
1903 | 15
1904 | 15
1905 | 15
1906 | 15
1907 | 15
1908 | 15
1909 | 15
1910 | 15
1911 | 15
1912 | 15
1913 | 15
1914 | 15
1915 | 15
1916 | 15
1917 | 15
1918 | 15
1919 | 15
1920 | 15
1921 | 15
1922 | 15
1923 | 15
1924 | 15
1925 | 15
1926 | 15
1927 | 15
1928 | 15
1929 | 15
1930 | 15
1931 | 15
1932 | 15
1933 | 15
1934 | 15
1935 | 15
1936 | 15
1937 | 15
1938 | 15
1939 | 15
1940 | 15
1941 | 15
1942 | 15
1943 | 15
1944 | 15
1945 | 15
1946 | 15
1947 | 15
1948 | 15
1949 | 15
1950 | 15
1951 | 15
1952 | 15
1953 | 15
1954 | 15
1955 | 15
1956 | 15
1957 | 15
1958 | 15
1959 | 15
1960 | 15
1961 | 15
1962 | 15
1963 | 15
1964 | 15
1965 | 15
1966 | 15
1967 | 15
1968 | 15
1969 | 15
1970 | 15
1971 | 15
1972 | 15
1973 | 15
1974 | 15
1975 | 15
1976 | 15
1977 | 15
1978 | 15
1979 | 15
1980 | 15
1981 | 15
1982 | 15
1983 | 15
1984 | 15
1985 | 15
1986 | 15
1987 | 15
1988 | 15
1989 | 15
1990 | 15
1991 | 15
1992 | 15
1993 | 15
1994 | 15
1995 | 15
1996 | 15
1997 | 15
1998 | 15
1999 | 15
2000 | 15
2001 | 16
2002 | 16
2003 | 16
2004 | 16
2005 | 16
2006 | 16
2007 | 16
2008 | 16
2009 | 16
2010 | 16
2011 | 16
2012 | 16
2013 | 16
2014 | 16
2015 | 16
2016 | 16
2017 | 16
2018 | 16
2019 | 16
2020 | 16
2021 | 16
2022 | 16
2023 | 16
2024 | 16
2025 | 16
2026 | 16
2027 | 16
2028 | 16
2029 | 16
2030 | 16
2031 | 16
2032 | 16
2033 | 16
2034 | 16
2035 | 16
2036 | 16
2037 | 16
2038 | 16
2039 | 16
2040 | 16
2041 | 16
2042 | 16
2043 | 16
2044 | 16
2045 | 16
2046 | 16
2047 | 16
2048 | 16
2049 | 16
2050 | 16
2051 | 16
2052 | 16
2053 | 16
2054 | 16
2055 | 16
2056 | 16
2057 | 16
2058 | 16
2059 | 16
2060 | 16
2061 | 16
2062 | 16
2063 | 16
2064 | 16
2065 | 16
2066 | 16
2067 | 16
2068 | 16
2069 | 16
2070 | 16
2071 | 16
2072 | 16
2073 | 16
2074 | 16
2075 | 16
2076 | 16
2077 | 16
2078 | 16
2079 | 16
2080 | 16
2081 | 16
2082 | 16
2083 | 16
2084 | 16
2085 | 16
2086 | 16
2087 | 16
2088 | 16
2089 | 16
2090 | 16
2091 | 16
2092 | 16
2093 | 16
2094 | 16
2095 | 16
2096 | 16
2097 | 16
2098 | 16
2099 | 16
2100 | 16
2101 | 17
2102 | 17
2103 | 17
2104 | 17
2105 | 17
2106 | 17
2107 | 17
2108 | 17
2109 | 17
2110 | 17
2111 | 17
2112 | 17
2113 | 17
2114 | 17
2115 | 17
2116 | 17
2117 | 17
2118 | 17
2119 | 17
2120 | 17
2121 | 17
2122 | 17
2123 | 17
2124 | 17
2125 | 17
2126 | 17
2127 | 17
2128 | 17
2129 | 17
2130 | 17
2131 | 17
2132 | 17
2133 | 17
2134 | 17
2135 | 17
2136 | 17
2137 | 17
2138 | 17
2139 | 17
2140 | 17
2141 | 17
2142 | 17
2143 | 17
2144 | 17
2145 | 17
2146 | 17
2147 | 17
2148 | 17
2149 | 17
2150 | 17
2151 | 17
2152 | 17
2153 | 17
2154 | 17
2155 | 17
2156 | 17
2157 | 17
2158 | 17
2159 | 17
2160 | 17
2161 | 17
2162 | 17
2163 | 17
2164 | 17
2165 | 17
2166 | 17
2167 | 17
2168 | 17
2169 | 17
2170 | 17
2171 | 17
2172 | 17
2173 | 17
2174 | 17
2175 | 17
2176 | 17
2177 | 17
2178 | 17
2179 | 17
2180 | 17
2181 | 17
2182 | 17
2183 | 17
2184 | 17
2185 | 17
2186 | 17
2187 | 17
2188 | 17
2189 | 17
2190 | 17
2191 | 17
2192 | 17
2193 | 17
2194 | 17
2195 | 17
2196 | 17
2197 | 17
2198 | 17
2199 | 17
2200 | 17
2201 | 18
2202 | 18
2203 | 18
2204 | 18
2205 | 18
2206 | 18
2207 | 18
2208 | 18
2209 | 18
2210 | 18
2211 | 18
2212 | 18
2213 | 18
2214 | 18
2215 | 18
2216 | 18
2217 | 18
2218 | 18
2219 | 18
2220 | 18
2221 | 18
2222 | 18
2223 | 18
2224 | 18
2225 | 18
2226 | 18
2227 | 18
2228 | 18
2229 | 18
2230 | 18
2231 | 18
2232 | 18
2233 | 18
2234 | 18
2235 | 18
2236 | 18
2237 | 18
2238 | 18
2239 | 18
2240 | 18
2241 | 18
2242 | 18
2243 | 18
2244 | 18
2245 | 18
2246 | 18
2247 | 18
2248 | 18
2249 | 18
2250 | 18
2251 | 18
2252 | 18
2253 | 18
2254 | 18
2255 | 18
2256 | 18
2257 | 18
2258 | 18
2259 | 18
2260 | 18
2261 | 18
2262 | 18
2263 | 18
2264 | 18
2265 | 18
2266 | 18
2267 | 18
2268 | 18
2269 | 18
2270 | 18
2271 | 18
2272 | 18
2273 | 18
2274 | 18
2275 | 18
2276 | 18
2277 | 18
2278 | 18
2279 | 18
2280 | 18
2281 | 18
2282 | 18
2283 | 18
2284 | 18
2285 | 18
2286 | 18
2287 | 18
2288 | 18
2289 | 18
2290 | 18
2291 | 18
2292 | 18
2293 | 18
2294 | 18
2295 | 18
2296 | 18
2297 | 18
2298 | 18
2299 | 18
2300 | 18
2301 | 19
2302 | 19
2303 | 19
2304 | 19
2305 | 19
2306 | 19
2307 | 19
2308 | 19
2309 | 19
2310 | 19
2311 | 19
2312 | 19
2313 | 19
2314 | 19
2315 | 19
2316 | 19
2317 | 19
2318 | 19
2319 | 19
2320 | 19
2321 | 19
2322 | 19
2323 | 19
2324 | 19
2325 | 19
2326 | 19
2327 | 19
2328 | 19
2329 | 19
2330 | 19
2331 | 19
2332 | 19
2333 | 19
2334 | 19
2335 | 19
2336 | 19
2337 | 19
2338 | 19
2339 | 19
2340 | 19
2341 | 19
2342 | 19
2343 | 19
2344 | 19
2345 | 19
2346 | 19
2347 | 19
2348 | 19
2349 | 19
2350 | 19
2351 | 19
2352 | 19
2353 | 19
2354 | 19
2355 | 19
2356 | 19
2357 | 19
2358 | 19
2359 | 19
2360 | 19
2361 | 19
2362 | 19
2363 | 19
2364 | 19
2365 | 19
2366 | 19
2367 | 19
2368 | 19
2369 | 19
2370 | 19
2371 | 19
2372 | 19
2373 | 19
2374 | 19
2375 | 19
2376 | 19
2377 | 19
2378 | 19
2379 | 19
2380 | 19
2381 | 19
2382 | 19
2383 | 19
2384 | 19
2385 | 19
2386 | 19
2387 | 19
2388 | 19
2389 | 19
2390 | 19
2391 | 19
2392 | 19
2393 | 19
2394 | 19
2395 | 19
2396 | 19
2397 | 19
2398 | 19
2399 | 19
2400 | 19
2401 | 20
2402 | 20
2403 | 20
2404 | 20
2405 | 20
2406 | 20
2407 | 20
2408 | 20
2409 | 20
2410 | 20
2411 | 20
2412 | 20
2413 | 20
2414 | 20
2415 | 20
2416 | 20
2417 | 20
2418 | 20
2419 | 20
2420 | 20
2421 | 20
2422 | 20
2423 | 20
2424 | 20
2425 | 20
2426 | 20
2427 | 20
2428 | 20
2429 | 20
2430 | 20
2431 | 20
2432 | 20
2433 | 20
2434 | 20
2435 | 20
2436 | 20
2437 | 20
2438 | 20
2439 | 20
2440 | 20
2441 | 20
2442 | 20
2443 | 20
2444 | 20
2445 | 20
2446 | 20
2447 | 20
2448 | 20
2449 | 20
2450 | 20
2451 | 20
2452 | 20
2453 | 20
2454 | 20
2455 | 20
2456 | 20
2457 | 20
2458 | 20
2459 | 20
2460 | 20
2461 | 20
2462 | 20
2463 | 20
2464 | 20
2465 | 20
2466 | 20
2467 | 20
2468 | 20
2469 | 20
2470 | 20
2471 | 20
2472 | 20
2473 | 20
2474 | 20
2475 | 20
2476 | 20
2477 | 20
2478 | 20
2479 | 20
2480 | 20
2481 | 20
2482 | 20
2483 | 20
2484 | 20
2485 | 20
2486 | 20
2487 | 20
2488 | 20
2489 | 20
2490 | 20
2491 | 20
2492 | 20
2493 | 20
2494 | 20
2495 | 20
2496 | 20
2497 | 20
2498 | 20
2499 | 20
2500 | 20